# Determination of Melting Point

Science in Motion

Clarion University

Introduction:

The melting point of a compound is the temperature at which it changes from a solid to a liquid. This is a physical property often used to identify compounds or to check the purity of the compound.

It is difficult, though, to find a melting point. Usually, chemist can only obtain a melting point range of  2 - 3( C accuracy. This is usually sufficient for most uses of the melting point.

Purpose:

The purpose of this lab is to determine the melting point of various organic compounds and to use these to identify unknowns.

Equipment and Materials:

Melting Point Apparatus

Glass disks

Digital thermometer that can register temperatures up to 200°C

Spatula per organic compound

Solid Organic Compounds

Metal Forceps

Mortar and Pestle (optional)

Safety:

- Always wear safety goggles in the lab.

- The melting point apparatus gets very hot. Be careful when handling the equipment.

- Be careful when handling the organic compounds.

Procedure:

- Obtain a glass disk and organic compound in the following order:

Phenyl Salicylate

Lauric Acid

Stearic Acid

Vanillin

Benzoin

- Using a spatula, place a small amount of the organic compound on the glass disk and place on the stage area of the melting point apparatus near the center.

- Place the digital thermometer onto the melting point apparatus.

- Turn on the melting point apparatus.  Adjust the temperature to a low setting so that it heats up slowly. Continue to slowly increase the heat if necessary to melt the organic compound.

- Observe the organic compound and note the temperature at which the compound begins to melt. Also observe when the substance has completely melted.

- Record your data in table #1.

- Complete procedure 1 – 6, until you have completed all the organic compounds your instructor has provided.

- Obtain unknown samples, and determine its melting point range. Record your results in data table #2.

- Identify the unknown by comparing the melting point range with the ranges found in data table #1. Record your results in data table #3.

## Data Table #1:  Organic Compounds and Melting Point Ranges

| Organic Compound | Melting Point Range in (C |
| --- | --- |

## Data Table #2:  Unknown Organic Compound and Melting Point Range

| Unknown Sample | Melting Point Range in (C |
| --- | --- |

## Data Table #3:  Identification of Unknown Samples

| Unknown Sample | Organic Compound |
| --- | --- |

Questions:

- Define the “melting point” of a substance.

- What is the purpose of determining melting points?

- Why is the method not used for finding the melting points of inorganic compounds?

- Why could the rate of heating influence the melting point?

Determination of Melting Point

Teacher’s Notes Continues

| Organic Compound | Melting Point Range in (C |
| --- | --- |
| Phenyl Salicylate | 41 - 43 |
| Lauric Acid | 44 |
| Stearic Acid | 68-69.5 |
| Vanillin | 81-85 |
| Benzoin | 137 |
| Sodium citrate dyhydrate | 150 |

Unknowns:

1.___________________

2.___________________

3.___________________

4.___________________