UV DETERMINATION OF CAFFEINE CONTENT

Introduction:

Caffeine is a common organic molecule found in many beverages such as coffee, tea and cola. It is a stimulant to the central nervous system. That is why many students drink coffee or soda to help them feel alert.

Like many conjugated organic molecules, caffeine absorbs radiation with a wavelength around 260 nm. A conjugated system is one containing 2 double bonds separated by a single bond. This conjugated pattern may be repeated several times in the molecule. If a series of caffeine standards are analyzed in this region of absorption and a Beer's law is plot prepared, then the amount of caffeine in another substance can be determined. One should be aware that the assumption is being made that the unknown contain no other substances which absorb at this wavelength.

Purpose:

The purpose of this experiment is to determine the amount of caffeine in selected sodas.

Equipment/Material:

Spectorphotometer quartz cuvets caffeine standards degassed soda samples methylene chloride droppers

ring stands

iron rings separatory funnels 50 mL graduated cylinders Erlenmeyer flasks, with stoppers Automatic pipets

50 ml, volumetric flasks (opt.) waste container

Safety:

0	Apron and goggles must be worn in lab.

Procedure:

- Prepare 50.00 mL of the assigned caffeine standard (50, 100, 150, 200, or 250 ppm) by a quantitative dilution of the 1000 ppm stock solution.

- Place the caffeine standard in a separatory funnel. Add 25 ml, of methylene chloride.

- Extract the caffeine by inverting the funnel at least 3 times. Vent the separatory funnel after 	each inversion.

- Remove the methylene chloride layer, which is the bottom layer, and save in a clean, stoppered Erlenmeyer flask.

- Add another 25 ml, of methylene chloride to the separatory funnel.

- Extract twice more by repeating steps 3-5. Combine the methylene chloride layers.

- Add 50 ml of degassed soda to a clean separatory funnel separatory funnel. (The sep funnel may be rinsed with methylene chloride to be certain that no caffeine from the previous sample remains.)

- Extract the soda 3 times with 25 mL portions of methylene chloride as above. Save the methylene chloride layers in another clean, stoppered Erlenmeyer flask.

- With the sample compartment of the spec empty, turn on the power switch. Let the instrument initialize and print out a self test

- Press the SCAN key. Scroll to BASELINE MENU and press E to enter. Scroll to Store Baseline and press E. Enter the following data: Starting wavelength 190nm, ending wavelength 350 nm, scan speed 200 nm/min.

- Fill a clean cuvet with methylene chloride. Place it in the cell holder, close the cover, and press RUN to store the baseline data. When the screen displays the SCAN Menu and the printer prints Baseline Stored, samples can be run.

12.	Rinse the cuvet twice with the first standard to be run; dispose of the methylene chloride in the waste container. Use the automatic pipet to fill the cuvet with 2.000 ml, of the standard. Insert the cuvet into the cell holder and press RUN to scan the sample. When the scan is completed, press RUN again to print the scan.
13.	Repeat step 12 with the other standards and unknown solutions. Remember to label the print-outs with the sample name.

- Plot a Beer's law curve of absorbance (y) vs concentration (x) for the caffeine standards.

UV DETERMINATION OF CAFFEINE CONTENT

Data Table:

Caffeine Standards

| Concentration (ppm) | Absorbance |
| --- | --- |
| 0.00 |  |
| 50.00 |  |
| 100.00 |  |
| 150.00 |  |
| 200.00 |  |
| 250.00 |  |

Name:__________________________
Name:__________________________
Period:________________
Date:_________________

Soda

| Brand | Absorbance | Concentration ppm | Caffeine mg/L |
| --- | --- | --- | --- |

Calculations:

1.	Using the graph, determine the concentration of caffeine in each soda in ppm.

2.	Calculate the mg of caffeine in a 12 oz serving (253 mL) of soda.

Questions:

1.	Why was it necessary to extract the standards?

2.	Why was it necessary to degas the soda?

3.	Why was it necessary to extract the soda.

UV DETERMINATION OF CAFFEINE CONTENT TEACHER NOTES

Lab Time:	60-80 minutes 
Preparations:

Time: 30 minutes

Prepare 1 L of 1000 ppm caffeine standard solution by dissolving 1.000g of caffeine in enough water to prepare 1 L of solution.

Assign standards and sodas to students. Suggested standards include 50, 100, 150, 200, 250 ppm caffeine.

Degas sodas by allowing the open containers to set at room temperature for at least 12 hours. If time does not permit the use of that method, place the sodas in beakers on stirring plates for a couple of hours.

Answers to Questions:

1.	Why was it necessary to extract the standards?

It was important to treat the standards the same as the sodas so that if any caffeine were lost during the extraction process it would also be lost from the standards.

2.	Why was it necessary to degas the soda?

If the soda were not degassed, the carbon dioxide bubbles would affect the UV light path through the solution.

3.	Why was it necessary to extract the soda.

The sugar and dyes in the soda would interfere in the UV analysis by absorbing in the same range as caffeine.

Considerations:

Time can be reduced by having standards prepared and having each group only analyze one soda. Both caffinated and decaffeinated sodas could be used. Other substances containing caffeine such as Vivrin and no-doz could be used. The range of the standards and/or solution concentration would have to be adjusted.

Science in Motion

Materials List

Lab: UV Determination of Caffeine Content

Number of Lab Groups Prepared:

| Equipment per lab group | Delivered | Returned |
| --- | --- | --- |
| Spectrophotometer |  |  |
| Quartz Cuvets |  |  |
| Ring Stands |  |  |
| Separatory Funnels |  |  |
| 50 mL Graduated Cylinders |  |  |
| Erlenmeyer Flasks with Stoppers |  |  |
| Automatic Pi pets |  |  |
| 50 mL Volumetric Flasks |  |  |
| Waste Container |  |  |

| Consumables | Delivered |
| --- | --- |
| Caffeine Standards |  |
| Degassed Soda Samples |  |
| Meth lene Chloride |  |
| Droppers |  |
| Iron Rings |  |